## Indented Costed Bill Of Mater
Level | Item | Description | Source | Quantity Per | U/M | Per | Lot Size | Type | Outside | Material | Labor | Overhead | Seq
BOM Alternate ID: 0
0 | ACV0158450 | AWS750A SS PR DUPLEX SYS 50 GAL NFPA 99 | Manufactured | 1 |  |  | 1 |  | 479.6 | 51139.5272 | 4915.1846 | 13619.5724 | 1
1 | 0300-2025-367 | BASEPLATE ACV0158450 CS INERTIA | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 2
1 | ACV0158450-1 | PUMP SUBASSEMBLY | Manufactured | 2 | EA | Unit | 1 | Material | 239.8 | 15247.7285 | 882.3698 | 2913.5259 | 3
2 | 0300-1980-003 | BASEPLATE CS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 521.21 | 0 | 52.121 | 4
2 | 1951002025 | AWS 750 A SSSS BS | Manufactured | 1 | EA | Unit | 1 | Material | 239.8 | 5364.875 | 247.1148 | 883.4882 | 5
3 | LR550KB4 | LVSFBB-935KB4 | Manufactured | 1 | EA | Unit | 1 | Material | 239.8 | 5313.3735 | 230.309 | 846.014 | 6
4 | 1000-0400-B00 | IMPELLER DV0550D-K SS BALANCED | Purchased | 1 | EA | Unit | 1 | Material | 0 | 694 | 0 | 69.4 | 7
5 | 1000-0400-M00 | IMPELLER FOR DV0550 AISI 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 735 | 0 | 0 | 8
6 | 1000-0400-C00 | IMPELLER FOR DV0550B-KB SS CASTING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 9
6 | 1000-0400-M00-OP | OP IMPELLER FOR DV0550B-KB SS | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 10
5 | 1000-0400-B00-OP | OP IMPELLER DV0550D-K SS BALANCED | Purchased | 1 | EA | Unit | 1 | Other | 0 | 55 | 0 | 0 | 11
4 | 1000-0404-M00 | COVER DV0450-550B-KB4 SS316 DE | Purchased | 1 | EA | Unit | 1 | Material | 0 | 640.68 | 0 | 0 | 12
5 | 1000-0404-C00 | COVER DV0450-550B-KB4 SS CASTING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 13
5 | 1000-0404-M00-OP | OP COVER DV0450-550B-KB4 SS DE | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 14
4 | 1000-0408-M00 | PLATE, SS DISCHARGE DV0450-550B-KA | Purchased | 1 | EA | Unit | 1 | Material | 0 | 227 | 0 | 22.7 | 15
5 | 1000-0408-C00 | PLATE, SS DISCHARGE DV0450-550B-KA | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 16
5 | 1000-0408-M00-OP | OP PLATE, SS DISCHARGE DV0450-550B-KA | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 17
4 | 1000-0412-M00 | CASING FOR DV0550B-KB4 SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 740 | 0 | 74 | 18
5 | 1000-0412-C00 | CASING FOR DV0550B-KB4 SS CASTING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 375 | 0 | 0 | 19
5 | 1000-0412-M00-OP | OP CASING FOR DV0550B-KB4 SS | Purchased | 1 | EA | Unit | 1 | Other | 0 | 632 | 0 | 0 | 20
4 | 1000-0407-M00 | PLATE, SS SUCTION FOR DV0450-550B-K | Purchased | 1 | EA | Unit | 1 | Material | 0 | 226 | 0 | 22.6 | 21
5 | 1000-0407-C00 | PLATE, SS SUCTION FOR DV0450-550B-K | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 22
5 | 1000-0407-M00-OP | OP PLATE, SS SUCTION FOR DV0450-550B-K | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 23
4 | 1000-0405-M00 | COVER NDE DV0450-550B-KB4 SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 640.68 | 0 | 0 | 24
5 | 1000-0404-C00 | COVER DV0450-550B-KB4 SS CASTING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 25
5 | 1000-0405-M00-OP | OP COVER NDE DV0450-550B-KB4 SS | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 26
4 | 1000-0413-M00 | MANIFOLD FOR DV0550B-KB4 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 266.2 | 0 | 26.62 | 27
5 | 1000-0413-C00 | MANIFOLD FOR DV0550B-KB4 CASTING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 28
5 | 1000-0413-M00-OP | OP MANIFOLD FOR DV0550B-KB4 | Purchased | 1 | EA | Unit | 1 | Other | 0 | 0 | 0 | 0 | 29
4 | 1000-0060-M00 | SHAFT FOR DV0550B-KB4 SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 346.23 | 0 | 34.623 | 30
4 | 1000-0594-M00 | BEARING HOUSING FOR DV0450/550B-KB4 | Manufactured | 2 | EA | Unit | 1 | Material | 108.25 | 58 | 16.3775 | 49.025 | 31
5 | 1000-0410-M00 | BEARING HOUSING FOR DV0450/550B-KB4 | Manufactured | 1 | EA | Unit | 1 | Material | 108.25 | 19 | 0.42 | 15.125 | 32
6 | 1000-0054-M00 | BEARING HOUSING FOR DV0450/550B-KA | Manufactured | 1 | EA | Unit | 1 | Material | 41.2 | 19 | 0.21 | 7.22 | 33
7 | 1000-0054-C00 | BEARING HOUSING CAST DV0450/550B-KA | Purchased | 1 | EA | Unit | 1 | Material | 0 | 19 | 0 | 1.9 | 34
7 | 1000-0054-M00-OP | BEARING HOUSING FOR DV0450/550B-KA | Purchased | 1 | EA | Unit | 1 | Other | 0 | 41.2 | 0 | 4.12 | 35
6 | 1000-0410-M00-OP | OP BEARING HOUSING FOR DV0450/550B-KB4 | Purchased | 1 | EA | Unit | 1 | Other | 0 | 67.05 | 0 | 6.705 | 36
5 | 1000-0411-M00 | MECH SEAL HOUSING FOR DV0450B-KB4 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 39 | 0 | 3.9 | 37
4 | 5472-0001-020 | PAINT 1 GAL DTM WASH PRIMER YEL-GREEN | Purchased | 0.26 | EA | Unit | 1 | Material | 0 | 88.95 | 0 | 8.895 | 38
4 | 3842-0400-000 | PUSH IN PLUG, 4" FLANGE | Purchased | 2 | EA | Unit | 1 | Material | 0 | 5.25 | 0 | 0.525 | 39
4 | 4790-2000-013 | LABEL, REMOVE BEFORE INST 3.5" | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 40
4 | 1000-0019-M00 | PLTE, VLV FLPPR CVR DV0150/0200/0300B-K | Purchased | 2 | EA | Unit | 1 | Material | 0 | 3.3 | 0 | 0.33 | 41
4 | 1000-0052-M00 | BEARING COVER NDE FOR DV0450-550B-K | Manufactured | 1 | EA | Unit | 1 | Material | 10.5 | 5.2017 | 0.21 | 2.2206 | 42
5 | 1000-0052-C00 | BEARING COVER NDE FOR DV0450-550B-K | Purchased | 1 | EA | Unit | 1 | Material | 0 | 5.2017 | 0 | 0.33811 | 43
5 | 1000-0052-M00-OP | BEARING COVER NDE FOR DV0450-550B-K | Purchased | 1 | EA | Unit | 1 | Other | 0 | 10.5 | 0 | 0.6825 | 44
4 | 1000-0053-M00 | BEARING COVER DE FOR DV0450-550B-KA | Manufactured | 1 | EA | Unit | 1 | Material | 12.8 | 3.25 | 0.21 | 2.2433 | 45
5 | 1000-0053-C00 | BEARING COVER DE FOR DV0450-550B-KA | Purchased | 1 | EA | Unit | 1 | Material | 0 | 3.25 | 0 | 0.21125 | 46
5 | 1000-0053-M00-OP | BEARING COVER DE FOR DV0450-550B-KA | Purchased | 1 | EA | Unit | 1 | Other | 0 | 12.8 | 0 | 0.832 | 47
4 | 1000-0064-M00 | TIE ROD FOR DV0550B-KA | Purchased | 6 | EA | Unit | 1 | Material | 0 | 3.2 | 0 | 0.32 | 48
4 | 1000-0302-M00 | IMPELLER NUT, DV0550/450B-KB4 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 38 | 0 | 3.8 | 49
4 | 1000-0303-M00 | SPACER RING, DV0550/450B-KB4 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 31.52 | 0 | 3.152 | 50
4 | 1980180100 | BEARING BALL FOR DV0300-0550A-KA | Purchased | 2 | EA | Unit | 1 | Material | 0 | 20.76 | 0 | 2.076 | 51
4 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 1.6 | 0 | 0.16 | 52
4 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | Purchased | 9 | EA | Unit | 1 | Material | 0 | 1.87 | 0 | 0.187 | 53
4 | 3085-0050-001 | SQ HD PLUG .50" MNPT 150# 316SS | Purchased | 4 | EA | Unit | 1 | Material | 0 | 2.69 | 0 | 0.269 | 54
4 | 3085-0075-001 | SQ HD PLUG .75" MNPT 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 2.2351 | 0 | 0.22351 | 55
4 | 3510-0250-004 | GSKT INORG/NITR 4.88"X2.88"ID X.12" | Purchased | 4 | EA | Unit | 1 | Material | 0 | 2.78 | 0 | 0.278 | 56
4 | 3510-2008-412 | GASKET END HOUSING DV0450-550B-K/M4 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 3.83 | 0 | 0.383 | 57
4 | 3510-2008-414 | GASKET BARREL DV0450-550B-K/M4 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 4.83 | 0 | 0.483 | 58
4 | 3800-0820-000 | SCREW M8X20 GR/12.9 SOCKET HD CAP | Purchased | 6 | EA | Unit | 1 | Material | 0 | 0.093 | 0 | 0.0093 | 59
4 | 3800-1030-000 | SCREW, SHCS M10X30 GR12.9 C/S | Purchased | 8 | EA | Unit | 1 | Material | 0 | 0.2013 | 0 | 0.02013 | 60
4 | 3800-1665-000 | SCREW, HHCS M16X65 GR/8.8 C/S | Purchased | 16 | EA | Unit | 1 | Material | 0 | 1.0675 | 0 | 0.10675 | 61
4 | 3809-0M12-000 | NUT HEX M12 PLAIN STEEL | Purchased | 12 | EA | Unit | 1 | Material | 0 | 0.107 | 0 | 0.0107 | 62
4 | 3809-0M16-000 | NUT, HEX M16 PLAIN STEEL | Purchased | 16 | EA | Unit | 1 | Material | 0 | 0.26 | 0 | 0.026 | 63
4 | 3810-0010-004 | NUT, NYLOC M50 X 1.5 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 40.58 | 0 | 4.058 | 64
4 | 3821-0006-000 | SCREW, HHCS M6 X 10 GR8.8 316SS | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.1384 | 0 | 0.01384 | 65
4 | 3830-0M10-001 | WASHER SPLIT LOCK M10 | Purchased | 8 | EA | Unit | 1 | Material | 0 | 0.0544 | 0 | 0.00544 | 66
4 | 3830-0M12-002 | WASHER FLAT M12 GR8.8 PLAIN | Purchased | 12 | EA | Unit | 1 | Material | 0 | 0.0506 | 0 | 0.00506 | 67
4 | 3830-0M16-000 | WASHER,FLAT M16 GR8.8 PLAIN | Purchased | 16 | EA | Unit | 1 | Material | 0 | 0.084 | 0 | 0.0084 | 68
4 | 3835-00M6-000 | WASHER M6 SPLIT LOCK 316SS | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.0573 | 0 | 0.00573 | 69
4 | 3836-0471-000 | CIRCLIP, EXTRNL 47MM ID X 2.2MM WID | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0.42 | 0 | 0.042 | 70
4 | 3848-0510-000 | SPRING PIN 5MM DIA X 10MM LG | Purchased | 2 | BOX | Unit | 1 | Material | 0 | 0.0375 | 0 | 0.00375 | 71
4 | 4610-2008-203 | KEY 12x8x70 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.23 | 0 | 0.123 | 72
4 | 4610-2011-001 | KEY IMPELLER 316SS 14X9X60 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 7 | 0 | 0.7 | 73
4 | 5320-5313-000 | O-RING VITON FOR DV0450/550B-KA2,3 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 1.7819 | 0 | 0.17819 | 74
4 | 6200-0055-000 | SEAL LIP SINGLE 55 MM BUNA SPRING | Purchased | 2 | EA | Unit | 1 | Material | 0 | 6.8171 | 0 | 0.68171 | 75
4 | 6220-0055-003 | SEAL MECH LEFT 55 MM 316/TEF/CARB | Purchased | 1 | EA | Unit | 1 | Material | 0 | 390.85 | 0 | 39.085 | 76
4 | 6565-6250-006 | SHIM 62MMX50MMX3MM | Purchased | 2 | EA | Unit | 1 | Material | 0 | 1.12 | 0 | 0.112 | 77
4 | 6570-6250-002 | SHIM 62MM x 50MM x 0.2MM | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.1 | 0 | 0.01 | 78
4 | 6570-6250-003 | SHIM 62MM X 50MM X 0.3MM | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.13 | 0 | 0 | 79
4 | 6570-6250-005 | SHIM 62MM X 50MM X 0.5MM | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.19 | 0 | 0.019 | 80
4 | 6570-6250-007 | SHIM 62MM X 50MM X 0.1MM | Purchased | 3 | EA | Unit | 1 | Material | 0 | 0.1 | 0 | 0 | 81
4 | P7390-2007-364 | VALVE, PRT PLT FLPPR DV0300/200/150 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 3.81 | 0 | 0.381 | 82
4 | 6220-0055-024 | SEAL MECH RIGHT 55 MM 316/TEF/CARB | Purchased | 1 | EA | Unit | 1 | Material | 0 | 404.55 | 0 | 40.455 | 83
4 | F-EN-TEST-002 | LRP CAPACITY TEST | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 0 | 0.7321 | 1.2 | 84
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.25 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 85
3 | 1951098001 | NAMEPLATE, PUMP AC LOGO BLK-ALUM BRSHFT | Purchased | 1 | EA | Unit | 1 | Material | 0 | 7 | 0 | 0.7 | 86
3 | 1951001065 | AC BLUE STRIPE 123.7mmX25mm AWS 750 A | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.38 | 0 | 0 | 87
3 | 1951001075 | AC GREY LOGO 175mmX123.7mm | Purchased | 2 | EA | Unit | 1 | Material | 0 | 2.68 | 0 | 0.268 | 88
3 | 9500-0005-001 | GROUP 2 PUMP PACKAGING | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 24.394 | 0 | 2.4394 | 89
4 | 9500-0002-002 | WOODEN PALLET 35 X 21 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 20.13 | 0 | 2.013 | 90
4 | 9500-0002-003 | TUBE FOR MEDIUM PUMPS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 3.261 | 0 | 0.3261 | 91
4 | 9500-0002-004 | LID FOR MEDIUM PUMPS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.003 | 0 | 0.1003 | 92
2 | 2321-1000-000 | DRIVE CPLG ASSY 10S 42MM/2.13"CI/EP | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 254.1 | 0.21 | 26.61 | 93
3 | 2302-1000-001 | DRIVE CPLG ELMNT 10S EPDM SPLIT | Purchased | 1 | EA | Unit | 1 | Material | 0 | 60.84 | 0 | 6.084 | 94
3 | 2320-1000-212 | DRIVE CPLG 10S 2.125" CI STD BORE | Purchased | 1 | EA | Unit | 1 | Material | 0 | 90.81 | 0 | 9.081 | 95
3 | 2320-1001-042 | DRIVE CPLG 10S 42MM CI SPEC BORE | Purchased | 1 | EA | Unit | 1 | Material | 0 | 102.45 | 0 | 10.245 | 96
2 | 3012-0100-001 | ELBOW 1.0" SR 90° FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 6.837 | 0 | 0.6837 | 97
2 | 3012-0400-004 | ELBOW 4.0" SR 90° FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 90.08 | 0 | 5.8552 | 98
2 | 3085-0100-001 | HEX PLUG 1.00" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 5.0683 | 0 | 0.50683 | 99
2 | 3086-1020-001 | NIPPLE 1.0"MNPT X 2.0 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 4.58 | 0 | 0.458 | 100
2 | 3086-1030-001 | NIPPLE 1.0"MNPT X 3.0 LG. 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 6.53 | 0 | 0.42445 | 101
2 | 3086-4045-001 | NIPPLE 4" MNPT X 4.5"L 316SS SCH40S | Purchased | 1 | EA | Unit | 1 | Material | 0 | 41.3333 | 0 | 2.6867 | 102
2 | 3180-UNV2-001 | PIPING KIT #2 VACUUM GAUGE ADAPT SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 6.85 | 0 | 0.685 | 103
2 | 3216-0400-001 | FLANGE THD 4.0" 150# 316 SST W/RF | Purchased | 2 | EA | Unit | 1 | Material | 0 | 282.29 | 0 | 18.3488 | 104
2 | 3230-0400-009 | FLANGE ASY 4" 150# THD SS/TEF BOLT | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 327.7262 | 0.21 | 23.2903 | 105
3 | 3216-0400-001 | FLANGE THD 4.0" 150# 316 SST W/RF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 282.29 | 0 | 18.3488 | 106
3 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | Purchased | 2 | EA | Unit | 1 | Material | 0 | 11.2581 | 0 | 1.1258 | 107
3 | 3775-0400-003 | BOLT SET FOR 4" 150# FLG ZINC PLTD | Purchased | 1 | EA | Unit | 1 | Material | 0 | 22.92 | 0 | 1.4898 | 108
2 | 3300-0400-005 | FLEX CONN 4" FLG X 9"LG 304SS/316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 341.42 | 0 | 34.142 | 109
2 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | Purchased | 2 | EA | Unit | 1 | Material | 0 | 11.2581 | 0 | 1.1258 | 110
2 | 3635-0025-001 | GAUGE VAC 0-30"HGV 2.5" FILL 316 SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 70.1 | 0 | 7.01 | 111
2 | 3700-1980-002 | GUARD CPLG FOR 25-50HP CS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 34.88 | 0 | 3.488 | 112
2 | 3775-0400-001 | BOLT SET FOR 4" 150# FLG ZINC PLTD | Purchased | 2 | EA | Unit | 1 | Material | 0 | 15.59 | 0 | 1.0133 | 113
2 | 3800-2507-000 | BOLT SERR HEX FLG 1/4-20X3/4 | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.1067 | 0 | 0.0069355 | 114
2 | 3800-3110-001 | BOLT HEX HEAD 5/16-18 X 1.0" GR5 WHIZ | Purchased | 2 | PKG | Unit | 1 | Material | 0 | 0.2312 | 0 | 0.02312 | 115
2 | 3800-4315-001 | BOLT SERR HEX FLG 7/16-14 X 1.5 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.597 | 0 | 0.0597 | 116
2 | 3800-5030-000 | BOLT SERR HEX FLG 1/2-13X3 | Purchased | 4 | EA | Unit | 1 | Material | 0 | 1.12 | 0 | 0.112 | 117
2 | 3800-6220-001 | BOLT SERR HEX FLG 5/8-11X2 | Purchased | 20 | EA | Unit | 1 | Material | 0 | 4.945 | 0 | 0.4945 | 118
2 | 3810-0031-001 | NUT SERRATED HEX 5/16-18 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.0407 | 0 | 0.00407 | 119
2 | 3810-0043-001 | NUT LOCK SERR FLG 7/16-14 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.0662 | 0 | 0.00662 | 120
2 | 5013-0400-102 | MOTOR 40HP 4P 230/460V 324T PREM | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2059.75 | 0 | 205.975 | 121
2 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | Purchased | 0.83 | FT | Unit | 1 | Material | 0 | 55.3867 | 0 | 3.6001 | 122
2 | 6050-1980-252 | RISERBLOCK FOR 324/326T MOTOR CS. | Purchased | 2 | EA | Unit | 1 | Material | 0 | 63.6 | 0 | 6.36 | 123
3 | 6615-0075-000 | FLAT CR 3/4" X 3" X 12FT 1018 CS | Purchased | 1.33 | FT | Unit | 1 | Material | 0 | 13.0546 | 0 | 0 | 124
2 | 6050-1980-304 | RISERBLK SHIM FOR 324/326T MOTOR CS | Purchased | 4 | EA | Unit | 1 | Material | 0 | 6 | 0 | 0.6 | 125
2 | 6430-453-553-001 | SEPARATOR NR/PR SS DVW453/553 | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 1404.0231 | 634.415 | 1216.9459 | 126
3 | 2708-1555-251 | ENDPLATE 15.52" OD X .25" THK 316 SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 135 | 0 | 13.5 | 127
4 | 6622-0025-000 | PLATE HR 1/4",4FTX8FT 316SS | Purchased | 1.5 | SQF | Unit | 1 | Material | 0 | 49.7038 | 0 | 0 | 128
3 | 2728-2007-187 | BRACKET MOUNT SEPARATOR 6X2" SS | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 34.5005 | 51.615 | 94.65 | 129
4 | 6653-0025-001 | STOCK FLAT 1/4"X2"X12FT 316 S/S | Purchased | 1.23 | FT | Unit | 1 | Material | 0 | 28.0492 | 0 | 2.8049 | 130
3 | 3003-0150-001 | CPLG 1.50" FNPT FULL 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 15.6 | 0 | 1.56 | 131
3 | 3004-0100-001 | CPLG 1.00" FNPT HALF 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 3.14 | 0 | 0.314 | 132
3 | 3004-0400-001 | CPLG 4.00" FNPT HALF 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 44.61 | 0 | 4.461 | 133
3 | 5500-0150-001 | PIPE 1.5" NOM DIA X SCH40 316SS | Purchased | 0.67 | FT | Unit | 1 | Material | 0 | 12.78 | 0 | 1.278 | 134
3 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | Purchased | 2.25 | FT | Unit | 1 | Material | 0 | 55.3867 | 0 | 3.6001 | 135
3 | 5500-1600-001 | PIPE 16" NOM OD X SCH 10S 316SS | Purchased | 3.5 | FT | Unit | 1 | Material | 0 | 257.1 | 0 | 16.7115 | 136
2 | 6890-ACV0158450-1 | SEAL FLUID PIPING SS | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 2259.4214 | 0.21 | 225.5368 | 137
3 | 3002-1075-001 | BUSHING 1.0"MNPT X .75"FNPT 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 3.396 | 0 | 0.3396 | 138
3 | 3005-0100-001 | CROSS 1.0" FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 22.55 | 0 | 2.255 | 139
3 | 3012-0038-001 | ELBOW .38" SR 90° FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.27 | 0 | 0.227 | 140
3 | 3012-0050-001 | ELBOW .50" SR 90° FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 3.6888 | 0 | 0.36888 | 141
3 | 3012-0100-001 | ELBOW 1.0" SR 90° FNPT 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 6.837 | 0 | 0.6837 | 142
3 | 3025-0100-001 | TEE 1.00" FNPT 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 10.3 | 0 | 1.03 | 143
3 | 3031-0100-001 | UNION 1.0" FNPT 150# 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 13.93 | 0 | 0.90545 | 144
3 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.87 | 0 | 0.187 | 145
3 | 3085-0050-001 | SQ HD PLUG .50" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.69 | 0 | 0.269 | 146
3 | 3085-0100-001 | HEX PLUG 1.00" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 5.0683 | 0 | 0.50683 | 147
3 | 3086-1020-001 | NIPPLE 1.0"MNPT X 2.0 316SS | Purchased | 4 | EA | Unit | 1 | Material | 0 | 4.58 | 0 | 0.458 | 148
3 | 3086-1025-001 | NIPPLE 1.0"MNPT X 2.5 LG. 316SS | Purchased | 3 | EA | Unit | 1 | Material | 0 | 4.4161 | 0 | 0.44161 | 149
3 | 3086-1040-001 | NIPPLE 1.0"MNPT X 4.0 LG. 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 8.26 | 0 | 0.826 | 150
3 | 3086-1045-001 | NIPPLE 1.0"MNPT X 4.5 LG. 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 9.54 | 0 | 0.954 | 151
3 | 3086-1055-001 | NIPPLE 1.0"MNPT X 5.5 LG. 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 10.99 | 0 | 1.099 | 152
3 | 3086-3815-001 | NIPPLE .38"MNPT X 1.5"LG. 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 1.96 | 0 | 0.196 | 153
3 | 3086-5000-001 | NIPPLE .50"MNPT X CLOSE 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.92 | 0 | 0.192 | 154
3 | 3086-5015-001 | NIPPLE .50"MNPT X 1.5 LG. 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.43 | 0 | 0.243 | 155
3 | 3086-7525-001 | NIPPLE .75"MNPT X 2.5" LG. 316SS | Purchased | 2 | EA | Unit | 1 | Material | 0 | 4.1 | 0 | 0.41 | 156
3 | 3216-0100-001 | FLANGE THD 1.0" 150# 316 W/RF | Purchased | 2 | EA | Unit | 1 | Material | 0 | 56.43 | 0 | 5.643 | 157
3 | 3216-1075-001 | FLANGE 1.0" 150# X .75" THD SS W/RF | Purchased | 2 | EA | Unit | 1 | Material | 0 | 58.75 | 0 | 5.875 | 158
3 | 3510-0100-001 | GASKET PTFE 2.63" ODX1.31" ID X.12" | Purchased | 2 | EA | Unit | 1 | Material | 0 | 1.42 | 0 | 0.142 | 159
3 | 3630-0050-001 | GAUGE TMP .5" 20/240°F°C W/THERWELL | Purchased | 1 | EA | Unit | 1 | Material | 0 | 146.68 | 0 | 14.668 | 160
3 | 3775-0100-001 | BOLT SET FOR 1" 150# FLG ZINC PLTD | Purchased | 2 | EA | Unit | 1 | Material | 0 | 2.62 | 0 | 0.262 | 161
3 | 5500-0100-001 | PIPE 1" NOM DIA X SCH40 316SS | Purchased | 1.54 | FT | Unit | 1 | Material | 0 | 11.6922 | 0 | 0.75999 | 162
3 | 6770-0100-001 | STRAINER Y 1.0" THD FNPT 316/316 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 219 | 0 | 21.9 | 163
3 | 7302-0038-001 | VLV BALL .38" FNPT FP 2-PC 316/TF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 79.7 | 0 | 7.97 | 164
3 | 7302-0100-001 | VLV BALL 1.0" FP 2-PC THD 316/TF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 32.83 | 0 | 3.283 | 165
3 | 7320-0050-001 | VLV SWING CHECK .5" THD FNPT 316/TF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 36.25 | 0 | 3.625 | 166
3 | 7334-0100-032 | VLV SOL 2WAY 1" N4 SS/BN 24V 5PSI | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1060 | 0 | 106 | 167
3 | 7375-0050-002 | VLV FLOW CNTL 5.0 GPM 1"FNPT SS/BUN | Purchased | 1 | EA | Unit | 1 | Material | 0 | 227.49 | 0 | 22.749 | 168
2 | 7302-0100-001 | VLV BALL 1.0" FP 2-PC THD 316/TF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 32.83 | 0 | 3.283 | 169
2 | 7308-0400-002 | VLV BUTTERFLY 4.0"LUG CI/SS/EPDM | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1374.99 | 0 | 137.499 | 170
2 | 7321-0400-001 | VLV CK PAN 4" WAF SS/SS/T LT SPRING | Purchased | 1 | EA | Unit | 1 | Material | 0 | 120 | 0 | 12 | 171
1 | ACV0158450-2 | CONTROL PANEL SUBASSEMBLY | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 5294.7466 | 899.305 | 2272.7971 | 172
2 | 2250-1179-340 | CTRL PNL 40HP 460V VMAX TRIPLEX VFD MED | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 5041.0124 | 592.81 | 1705.3012 | 173
3 | 2607-3636-080 | ENCLOSURE N4/12 36" X 36" X 8" | Purchased | 1 | EA | Unit | 1 | Material | 0 | 571.2 | 0 | 57.12 | 174
3 | 2607-3636-000 | ENCLOSURE BACK PANEL 36" X 36" | Purchased | 1 | EA | Unit | 1 | Material | 0 | 169.26 | 0 | 16.926 | 175
3 | 2609-0214-017 | POWER DISTRIBUTION BLOCK 3-POLE | Purchased | 1 | EA | Unit | 1 | Material | 0 | 177.85 | 0 | 17.785 | 176
3 | 2609-0214-110 | POWER DISTRIBUTION BLOCK COVERS | Purchased | 3 | EA | Unit | 1 | Material | 0 | 12.72 | 0 | 1.272 | 177
3 | 2670-0020-021 | SWITCH DISCONNECT 2 POSITION 100AMP | Purchased | 3 | EA | Unit | 1 | Material | 0 | 140.28 | 0 | 14.028 | 178
3 | 2670-0020-024 | SHAFT FOR DISCONNECT HANDLE 6MM | Purchased | 3 | EA | Unit | 1 | Material | 0 | 14.2 | 0 | 1.42 | 179
3 | 2670-0020-018 | HANDLE FOR DISCONNECT SWITCH | Purchased | 3 | EA | Unit | 1 | Material | 0 | 60.8 | 0 | 6.08 | 180
3 | 2670-0020-020 | SHAFT ALIGNMENT RING | Purchased | 3 | EA | Unit | 1 | Material | 0 | 7.55 | 0 | 0.755 | 181
3 | 2670-0020-058 | SWITCH DISCONNECT AUX CONTACT | Purchased | 1 | EA | Unit | 1 | Material | 0 | 13.75 | 0 | 1.375 | 182
3 | 2608-0100-002 | FUSE BLOCK 3-POLE 100 AMP CLASS T | Purchased | 3 | EA | Unit | 1 | Material | 0 | 74.25 | 0 | 7.425 | 183
3 | 2608-0100-002A | FINGER GUARD FOR 2608-0100-002 | Purchased | 9 | EA | Unit | 1 | Material | 0 | 10.99 | 0 | 1.099 | 184
3 | 2610-0080-001 | FUSE 80 AMP FAST ACTING CLASS T | Purchased | 9 | EA | Unit | 1 | Material | 0 | 14.88 | 0 | 1.488 | 185
3 | 2611-0002-002 | FUSE HLDR FINGSF CL. CC 2POLE IND | Purchased | 2 | EA | Unit | 1 | Material | 0 | 25.56 | 0 | 2.556 | 186
3 | 2610-0004-001 | FUSE 4 AMP TIME DELAY CLASS CC | Purchased | 4 | EA | Unit | 1 | Material | 0 | 5.08 | 0 | 0.508 | 187
3 | 2621-0024-010 | POWER SUPPLY 24VDC 5A 380-480VAC | Purchased | 2 | EA | Unit | 1 | Material | 0 | 155.64 | 0 | 15.564 | 188
3 | 2621-0024-018 | REDUNDANCY MODULE, 24-48VDC, 20A | Purchased | 1 | EA | Unit | 1 | Material | 0 | 131.65 | 0 | 13.165 | 189
3 | 2611-0001-001 | FUSE HLDR FINGERSF CL.MIDGET 1POLE | Purchased | 2 | EA | Unit | 1 | Material | 0 | 15.11 | 0 | 1.511 | 190
3 | 2610-0004-002 | FUSE 4 AMP FAST-ACTING MIDGET | Purchased | 1 | EA | Unit | 1 | Material | 0 | 6.42 | 0 | 0.642 | 191
4 | 2610-0005-003 | FUSE 5 AMP TIME DELAY MIDGET | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.02 | 0 | 0.202 | 192
4 | 2540-2400-018 | UNITRONICS V430 22 DIG IN /12 RELAY OUT | Purchased | 1 | EA | Unit | 1 | Material | 0 | 703.66 | 0 | 70.366 | 193
3 | 2541-0024-007 | UNITRONICS SERIAL CARD FOR V350/430 | Purchased | 1 | EA | Unit | 1 | Material | 0 | 61.33 | 0 | 6.133 | 194
3 | 9700-0485-000 | RS485 CABLE RJ12/SHIELDED-TWISTED PAIR | Purchased | 2 | EA | Unit | 1 | Material | 0 | 16.35 | 0 | 1.635 | 195
3 | 2555-BNIP-RTU | GATEWAY BACNET/IP TO MODBUS RTU | Purchased | 1 | EA | Unit | 1 | Material | 0 | 972 | 0 | 97.2 | 196
3 | 2630-2245-003 | E-STOP 45MM TWIST-RELEASE OPERATOR | Purchased | 1 | EA | Unit | 1 | Material | 0 | 58.25 | 0 | 5.825 | 197
3 | 2630-2240-002 | LEGEND PLATE E-STOP YELLOW | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.7 | 0 | 0.27 | 198
3 | 2633-0020-007 | CONTACT BLOCK FOR SWITCH 2 N.C. SPRING | Purchased | 2 | EA | Unit | 1 | Material | 0 | 22.2 | 0 | 2.22 | 199
3 | 2632-0030-006 | SWITCH SELECTOR 3-POSITION NON ILL | Purchased | 3 | EA | Unit | 1 | Material | 0 | 9 | 0 | 0.9 | 200
3 | 2630-0050-004 | PUSH BUTTON BLACK | Purchased | 1 | EA | Unit | 1 | Material | 0 | 5.08 | 0 | 0.508 | 201
3 | 2633-0020-002 | CONTACT BLOCK FOR SWITCH N.O. | Purchased | 10 | EA | Unit | 1 | Material | 0 | 7.66 | 0 | 0.766 | 202
3 | 2555-0050-001 | HORN PIEZO BLACK 24VDC/AC | Purchased | 1 | EA | Unit | 1 | Material | 0 | 51.04 | 0 | 5.104 | 203
3 | 2620-0022-010 | LIGHT YELLOW PILOT 22MM 24V | Purchased | 1 | EA | Unit | 1 | Material | 0 | 27.44 | 0 | 2.744 | 204
3 | 2620-0022-018 | LIGHT RED PILOT 22MM 24V | Purchased | 1 | EA | Unit | 1 | Material | 0 | 29.33 | 0 | 2.933 | 205
3 | 2635-0010-000 | RELAY 1 POLE 24V SPDT 6.2 mm 6A | Purchased | 2 | EA | Unit | 1 | Material | 0 | 11.64 | 0 | 1.164 | 206
3 | 2555-0030-000 | TRANSIENT VOLTAGE SUPPRESSOR 30V | Purchased | 3 | EA | Unit | 1 | Material | 0 | 0.6 | 0 | 0.06 | 207
3 | 7120-0025-007 | TRANS PRESS 0-15PSIA 0-10VDC | Purchased | 1 | EA | Unit | 1 | Material | 0 | 125.64 | 0 | 12.564 | 208
3 | 3002-7525-004 | BUSHING BULK.75"UNC X .25"FNPT BRS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.68 | 0 | 0.268 | 209
3 | 2606-2412-002 | ELEC.TERMINAL BLOCK END SECTION DIN | Purchased | 7 | EA | Unit | 1 | Material | 0 | 1 | 0 | 0.1 | 210
3 | 2606-2412-000 | ELEC.TERMINAL BLOCK END COVER | Purchased | 3 | EA | Unit | 1 | Material | 0 | 0.71 | 0 | 0.071 | 211
3 | 2604-2412-004 | ELEC.TERM BLOCK DOUBLE LEVEL 6.2MM | Purchased | 28 | EA | Unit | 1 | Material | 0 | 2.21 | 0 | 0.221 | 212
3 | 2604-2412-005 | ELEC.TERMINAL BLOCK GND 6.2 2-TIER | Purchased | 5 | EA | Unit | 1 | Material | 0 | 5.42 | 0 | 0.542 | 213
3 | 2602-2410-000 | ELEC.TERM. BLK. DIN RAIL 7.5 X 35MM | Purchased | 2.75 | FT | Unit | 1 | Material | 0 | 0.70976 | 0 | 0.070976 | 214
3 | 9702-0100-225 | WIRING DUCT W/ COVER 1.00"X2.25" WH | Purchased | 2.75 | FT | Unit | 1 | Material | 0 | 3.54 | 0 | 0.354 | 215
3 | 9702-0150-225 | WIRING DUCT W/ COVER 1.50"X2.25" WH | Purchased | 5.92 | FT | Unit | 1 | Material | 0 | 3.68 | 0 | 0.368 | 216
3 | 2552-1402-000 | LUG, GROUNDING, 14-2 AWG | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.92 | 0 | 0.092 | 217
2 | 2451-1054-790 | PLACARD SET FOR TRIPLEX MEDICAL | Purchased | 1 | EA | Unit | 1 | Material | 0 | 10.5 | 0 | 1.05 | 218
3 | 2451-0906-330 | PLACARD SET FOR 3 PUMPS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 3 | 0 | 0.3 | 219
3 | 2730-2025-148 | BRACKET CNTL PNL 36X36X8 CS | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 229.8444 | 306.285 | 564.1844 | 220
3 | 7215-0200-001 | TUBING SQ. 2"X2"X1/4"X24FT HR CS | Purchased | 18.39 | FT | Unit | 1 | Material | 0 | 10.21 | 0 | 1.021 | 221
3 | 6600-0025-001 | ANGLE 1/4"X2"X2"X20FT A-36 CS | Purchased | 6 | FT | Unit | 1 | Material | 0 | 3.03 | 0 | 0.303 | 222
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | Purchased | 0.02 | EA | Unit | 1 | Material | 0 | 278.5 | 0 | 27.85 | 223
2 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.25 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 224
2 | 6652-0025-002 | STOCK FLAT 1/4"X2"X20FT CS A36 | Purchased | 2.75 | FT | Unit | 1 | Material | 0 | 1.58 | 0 | 0.158 | 225
2 | 3039-0025-003 | FTING .25"MNPTX.25"TUBE 90° COMP CS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 7.93 | 0 | 0.51545 | 226
2 | 3800-4310-001 | BOLT SERR HEX FLG 7/16-14 X 1 | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.486 | 0 | 0.0486 | 227
2 | 3810-0043-001 | NUT LOCK SERR FLG 7/16-14 | Purchased | 4 | EA | Unit | 1 | Material | 0 | 0.0662 | 0 | 0.00662 | 228
1 | 3842-0200-002 | PLUGS PROTECTIVE 2" SQR POLY | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.688 | 0 | 0.0688 | 229
2 | 7200-0025-001 | TUBING .25"OD FEP/TEFLN TRANSLUCENT | Purchased | 5.5 | FT | Unit | 1 | Material | 0 | 2.25 | 0 | 0.225 | 230
2 | ACV0158450-3 | VFD SUBASSEMBLY | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 8244.1835 | 306.495 | 1366.8184 | 231
3 | 2672-0400-016 | DRIVE VARIABLE FREQ 40HP 480V | Purchased | 2 | EA | Unit | 1 | Material | 0 | 4042 | 0 | 404.2 | 232
3 | 2728-2025-413 | BRACKET VFD MOUNTING | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 158.4843 | 306.285 | 557.0484 | 233
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | Purchased | 0.02 | EA | Unit | 1 | Material | 0 | 278.5 | 0 | 27.85 | 234
3 | 6652-0025-002 | STOCK FLAT 1/4"X2"X20FT CS A36 | Purchased | 7.67 | FT | Unit | 1 | Material | 0 | 1.58 | 0 | 0.158 | 235
2 | 7215-0200-001 | TUBING SQ. 2"X2"X1/4"X24FT HR CS | Purchased | 12.42 | FT | Unit | 1 | Material | 0 | 10.21 | 0 | 1.021 | 236
2 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.25 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 237
2 | 3800-2515-004 | BOLT SERR HEX FLG 1/4"-20 X 1-1/2" | Purchased | 8 | EA | Unit | 1 | Material | 0 | 0 | 0 | 0 | 238
1 | 3810-0025-001 | NUT LOCK SERR FLG 1/4-20 | Purchased | 8 | EA | Unit | 1 | Material | 0 | 0.0404 | 0 | 0.00404 | 239
2 | 3842-0200-002 | PLUGS PROTECTIVE 2" SQR POLY | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.688 | 0 | 0.0688 | 240
2 | ACV0158450-4 | DISCHARGE MANIFOLD SUBASSEMBLY | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 2141.0409 | 206.04 | 553.5637 | 241
2 | 3038-0025-003 | FTING .25"MNPTX.25"TUBE STR COMP CS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 4.94 | 0 | 0.3211 | 242
2 | 3210-0400-001 | FLANGE BLIND 4" 150# 316SS W/RF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 156.5 | 0 | 15.65 | 243
2 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | Purchased | 1 | EA | Unit | 1 | Material | 0 | 11.2581 | 0 | 1.1258 | 244
3 | 3775-0400-001 | BOLT SET FOR 4" 150# FLG ZINC PLTD | Purchased | 1 | EA | Unit | 1 | Material | 0 | 15.59 | 0 | 1.0133 | 245
3 | 6875-2025-412 | INTAKE MANIFOLD SS | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 1952.7528 | 205.83 | 534.2534 | 246
3 | 3012-0400-001 | ELBOW 4" SR 90° BUTT WELD SCH40 316 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 103.65 | 0 | 10.365 | 247
3 | 3020-6040-001 | REDUCER CONC 6" X 4" BUTWD S40 316 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 63.92 | 0 | 6.392 | 248
3 | 3025-0600-001 | TEE 6.00" BUTTWLD SCH40 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 235.8938 | 0 | 23.5894 | 249
3 | 3214-0400-001 | FLANGE SLIP-ON 4.0" 150# 316 W/RF | Purchased | 3 | EA | Unit | 1 | Material | 0 | 248.62 | 0 | 24.862 | 250
3 | 3214-0600-001 | FLANGE SLIP-ON 6.0" 150# 316 W/RF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 376.13 | 0 | 24.4485 | 251
3 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | Purchased | 4.32 | FT | Unit | 1 | Material | 0 | 55.3867 | 0 | 3.6001 | 252
1 | 5500-0600-004 | PIPE 6" NOM DIA X SCH 40 316SS | Purchased | 0.229 | FT | Unit | 1 | Material | 0 | 85.1992 | 0 | 5.5379 | 253
2 | 3004-0025-001 | CPLG .25" FNPT HALF 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 0.94785 | 0 | 0.094785 | 254
2 | ACV0158450-5 | TANK SUBASSEMBLY | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 4727.7482 | 0.42 | 449.7064 | 255
2 | 3002-5025-001 | BUSHING .50"MNPT X .25"FNPT 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.24 | 0 | 0.224 | 256
2 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.6 | 0 | 0.16 | 257
2 | 3085-0075-001 | SQ HD PLUG .75" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.2351 | 0 | 0.22351 | 258
2 | 3605-0025-011 | GAUGE COMP 15/0/30"PSI/HGV FILLED SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 127.92 | 0 | 12.792 | 259
3 | 6004-0060-009 | RECEIVER TANK VERT 60 GAL CS ASME | Purchased | 1 | EA | Unit | 1 | Material | 0 | 4293 | 0 | 429.3 | 260
3 | 6890-ACV0158450-2 | DRAIN PIPING SS | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 51.3531 | 0.21 | 5.8068 | 261
3 | 3002-3825-001 | BUSHING .38"MNPT X .25"FNPT 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.25 | 0 | 0.225 | 262
3 | 3002-5038-001 | BUSHING .50"MNPT X .38"FNPT 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.35 | 0 | 0.235 | 263
3 | 3012-0038-001 | ELBOW .38" SR 90° FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.27 | 0 | 0.227 | 264
3 | 3025-0025-001 | TEE .25" FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 4.12 | 0 | 0.412 | 265
3 | 3025-0038-001 | TEE .38" FNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 2.95 | 0 | 0 | 266
3 | 3038-0038-001 | FTNG STR .38"MNPTX.38"TUBE BRS PUSH | Purchased | 2 | EA | Unit | 1 | Material | 0 | 3.62 | 0 | 0.362 | 267
3 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.6 | 0 | 0.16 | 268
3 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.87 | 0 | 0.187 | 269
3 | 3086-2500-002 | NIPPLE .25"MNPT X CLOSE 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.0279 | 0 | 0.10279 | 270
3 | 3086-3800-001 | NIPPLE .38"MNPT X CLOSE 316SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 1.27 | 0 | 0.08255 | 271
3 | 5500-0025-001 | PIPE .25" NOM DIA XSCH40 316SS | Purchased | 1.65 | FT | Unit | 1 | Material | 0 | 3.5 | 0 | 0.35 | 272
2 | 7200-0038-001 | TUBING .38" OD FEP/TEFLN TRANSLUCNT | Purchased | 1.34 | FT | Unit | 1 | Material | 0 | 4.03 | 0 | 0.26195 | 273
1 | 7302-0025-001 | VLV BALL .25" FP 2-PC THD 316/TF | Purchased | 1 | EA | Unit | 1 | Material | 0 | 13.23 | 0 | 1.323 | 274
2 | 7342-0125-007 | VALVE VAC RELIEF 1.25" ADJ 100SCFM SS | Purchased | 1 | EA | Unit | 1 | Material | 0 | 249.4 | 0 | 0 | 275
3 | ACV0158450-6 | PIPE SUPPORT BRACKET SUBASSEMBLY | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 164.3909 | 679.175 | 1221.2391 | 276
3 | 2728-2025-575 | BRACKET - PIPE SUPPORT | Manufactured | 2 | EA | Unit | 1 | Material | 0 | 57.9435 | 306.285 | 546.9944 | 277
3 | 6600-0025-004 | ANGLE 1/4"X3"X3"X20FT A-36 CS | Purchased | 2.1667 | FT | Unit | 1 | Material | 0 | 4.37 | 0 | 0.437 | 278
3 | 6600-0025-008 | ANGLE 1/4"X3"X2"X20FT A-36 CS | Purchased | 9.2 | FT | Unit | 1 | Material | 0 | 3.75 | 0 | 0.375 | 279
2 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | Purchased | 0.01 | EA | Unit | 1 | Material | 0 | 278.5 | 0 | 27.85 | 280
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.2 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 281
3 | 2728-2025-576 | BRACKET - PIPE SUPPORT | Manufactured | 1 | EA | Unit | 1 | Material | 0 | 25.3618 | 66.395 | 123.7362 | 282
3 | 6600-0025-008 | ANGLE 1/4"X3"X2"X20FT A-36 CS | Purchased | 6.167 | FT | Unit | 1 | Material | 0 | 3.75 | 0 | 0.375 | 283
2 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | Purchased | 0.002 | EA | Unit | 1 | Material | 0 | 278.5 | 0 | 27.85 | 284
2 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.03 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 285
2 | 3800-5015-001 | BOLT SERR HEX FLG 1/2-13 X 1.5 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.6471 | 0 | 0.06471 | 286
1 | 3810-0050-001 | NUT LOCK SERR FLG 1/2-13 | Purchased | 2 | EA | Unit | 1 | Material | 0 | 0.1615 | 0 | 0.01615 | 287
1 | 3825-0400-000 | U-BOLT 4.5"ID 1/2-13 UNC 4" PIPE ZN | Purchased | 3 | EA | Unit | 1 | Material | 0 | 7.175 | 0 | 0.7175 | 288
1 | 1951098000 | NAMEPLATE, SYSTEM AC LOGO BLK-ALUM | Purchased | 1 | EA | Unit | 1 | Material | 0 | 9 | 0 | 0.9 | 289
1 | 1951098001 | NAMEPLATE, PUMP AC LOGO BLK-ALUM BRSHFT | Purchased | 2 | EA | Unit | 1 | Material | 0 | 7 | 0 | 0.7 | 290
1 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | Purchased | 0.03 | EA | Unit | 1 | Material | 0 | 278.5 | 0 | 27.85 | 291
1 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | Purchased | 0.5 | EA | Unit | 1 | Material | 0 | 55.95 | 0 | 5.595 | 292
1 | 5475-0012-003 | PAINT SPRAY CAN 12 OZ RAL 7011 IRON GRAY | Purchased | 1 | EA | Unit | 1 | Material | 0 | 9.4 | 0 | 0.94 | 293
1 | 3810-0050-001 | NUT LOCK SERR FLG 1/2-13 | Purchased | 20 | EA | Unit | 1 | Material | 0 | 0.1615 | 0 | 0.01615 | 294