## Indented Current Bill Of Mate
Level | Item | Description | Qty Per | U/M | Per | Ref | Type | Source | Stocked | Alt Group | Alt Group Rank | Revision | Ref Designator | Bubble | Assembly Seq | Seq
Group Item: ACV0158450
0 | ACV0158450 | AWS750A SS PR DUPLEX SYS 50 GAL NFPA 99 | 1 | EA |  |  | Material | Manufactured | False | [6 empty] | 1
1 | 0300-2025-367 | BASEPLATE ACV0158450 CS INERTIA | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 2
1 | ACV0158450-1 | PUMP SUBASSEMBLY | 2 | EA | Unit | Job | Material | Manufactured | False | 2 | 0 |  |  |  |  | 3
2 | 0300-1980-003 | BASEPLATE CS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | E |  |  |  | 4
2 | 1951002025 | AWS 750 A SSSS BS | 1 | EA | Unit | Job | Material | Manufactured | False | 2 | 0 |  |  |  |  | 5
3 | LR550KB4 | LVSFBB-935KB4 | 1 | EA | Unit | Job | Material | Manufactured | False | 1 | 0 | A |  |  |  | 6
4 | 1000-0400-B00 | IMPELLER DV0550D-K SS BALANCED | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 7
5 | 1000-0400-M00 | IMPELLER FOR DV0550 AISI 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | F |  |  |  | 8
6 | 1000-0400-C00 | IMPELLER FOR DV0550B-KB SS CASTING | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | F |  |  |  | 9
6 | 1000-0400-M00-OP | OP IMPELLER FOR DV0550B-KB SS | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | B |  |  |  | 10
5 | 1000-0400-B00-OP | OP IMPELLER DV0550D-K SS BALANCED | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | A |  |  |  | 11
4 | 1000-0404-M00 | COVER DV0450-550B-KB4 SS316 DE | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 | B |  |  |  | 12
5 | 1000-0404-C00 | COVER DV0450-550B-KB4 SS CASTING | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 13
5 | 1000-0404-M00-OP | OP COVER DV0450-550B-KB4 SS DE | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 |  |  |  |  | 14
4 | 1000-0408-M00 | PLATE, SS DISCHARGE DV0450-550B-KA | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 | B |  |  |  | 15
5 | 1000-0408-C00 | PLATE, SS DISCHARGE DV0450-550B-KA | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 16
5 | 1000-0408-M00-OP | OP PLATE, SS DISCHARGE DV0450-550B-KA | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | B |  |  |  | 17
4 | 1000-0412-M00 | CASING FOR DV0550B-KB4 SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | D |  |  |  | 18
5 | 1000-0412-C00 | CASING FOR DV0550B-KB4 SS CASTING | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 19
5 | 1000-0412-M00-OP | OP CASING FOR DV0550B-KB4 SS | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | A |  |  |  | 20
4 | 1000-0407-M00 | PLATE, SS SUCTION FOR DV0450-550B-K | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 | A |  |  |  | 21
5 | 1000-0407-C00 | PLATE, SS SUCTION FOR DV0450-550B-K | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 22
5 | 1000-0407-M00-OP | OP PLATE, SS SUCTION FOR DV0450-550B-K | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | B |  |  |  | 23
4 | 1000-0405-M00 | COVER NDE DV0450-550B-KB4 SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 | C |  |  |  | 24
5 | 1000-0404-C00 | COVER DV0450-550B-KB4 SS CASTING | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 25
5 | 1000-0405-M00-OP | OP COVER NDE DV0450-550B-KB4 SS | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 |  |  |  |  | 26
4 | 1000-0413-M00 | MANIFOLD FOR DV0550B-KB4 | 2 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 | A |  |  |  | 27
5 | 1000-0413-C00 | MANIFOLD FOR DV0550B-KB4 CASTING | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 28
5 | 1000-0413-M00-OP | OP MANIFOLD FOR DV0550B-KB4 | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 |  |  |  |  | 29
4 | 1000-0060-M00 | SHAFT FOR DV0550B-KB4 SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 | E |  |  |  | 30
4 | 1000-0594-M00 | BEARING HOUSING FOR DV0450/550B-KB4 | 2 | EA | Unit | Job | Material | Manufactured | False | 9 | 0 |  |  |  |  | 31
5 | 1000-0410-M00 | BEARING HOUSING FOR DV0450/550B-KB4 | 1 | EA | Unit | Inventory | Material | Manufactured | False | 1 | 0 | C |  |  |  | 32
6 | 1000-0054-M00 | BEARING HOUSING FOR DV0450/550B-KA | 1 | EA | Unit | Inventory | Material | Manufactured | False | 1 | 0 | J |  |  |  | 33
7 | 1000-0054-C00 | BEARING HOUSING CAST DV0450/550B-KA | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | G |  |  |  | 34
7 | 1000-0054-M00-OP | BEARING HOUSING FOR DV0450/550B-KA | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | J |  |  |  | 35
6 | 1000-0410-M00-OP | OP BEARING HOUSING FOR DV0450/550B-KB4 | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | C |  |  |  | 36
5 | 1000-0411-M00 | MECH SEAL HOUSING FOR DV0450B-KB4 | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 | B |  |  |  | 37
4 | 5472-0001-020 | PAINT 1 GAL DTM WASH PRIMER YEL-GREEN | 0.26 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 38
4 | 3842-0400-000 | PUSH IN PLUG, 4" FLANGE | 2 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 39
4 | 4790-2000-013 | LABEL, REMOVE BEFORE INST 3.5" | 2 | EA | Unit | Inventory | Material | Purchased | True | 12 | 0 |  |  |  |  | 40
4 | 1000-0019-M00 | PLTE, VLV FLPPR CVR DV0150/0200/0300B-K | 2 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | B |  |  |  | 41
4 | 1000-0052-M00 | BEARING COVER NDE FOR DV0450-550B-K | 1 | EA | Unit | Inventory | Material | Manufactured | False | 2 | 0 | D |  |  |  | 42
5 | 1000-0052-C00 | BEARING COVER NDE FOR DV0450-550B-K | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 43
5 | 1000-0052-M00-OP | BEARING COVER NDE FOR DV0450-550B-K | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | D |  |  |  | 44
4 | 1000-0053-M00 | BEARING COVER DE FOR DV0450-550B-KA | 1 | EA | Unit | Inventory | Material | Manufactured | False | 3 | 0 | B |  |  |  | 45
5 | 1000-0053-C00 | BEARING COVER DE FOR DV0450-550B-KA | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 46
5 | 1000-0053-M00-OP | BEARING COVER DE FOR DV0450-550B-KA | 1 | EA | Unit | Purchase Order | Other | Purchased | True | 1 | 0 | B |  |  |  | 47
4 | 1000-0064-M00 | TIE ROD FOR DV0550B-KA | 6 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | A |  |  |  | 48
4 | 1000-0302-M00 | IMPELLER NUT, DV0550/450B-KB4 | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 49
4 | 1000-0303-M00 | SPACER RING, DV0550/450B-KB4 | 1 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 50
4 | 1980180100 | BEARING BALL FOR DV0300-0550A-KA | 2 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 | A |  |  |  | 51
4 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 52
4 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | 9 | EA | Unit | Inventory | Material | Purchased | True | 9 | 0 |  |  |  |  | 53
4 | 3085-0050-001 | SQ HD PLUG .50" MNPT 150# 316SS | 4 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 54
4 | 3085-0075-001 | SQ HD PLUG .75" MNPT 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 55
4 | 3510-0250-004 | GSKT INORG/NITR 4.88"X2.88"ID X.12" | 4 | EA | Unit | Inventory | Material | Purchased | True | 12 | 0 |  |  |  |  | 56
4 | 3510-2008-412 | GASKET END HOUSING DV0450-550B-K/M4 | 2 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 | A |  |  |  | 57
4 | 3510-2008-414 | GASKET BARREL DV0450-550B-K/M4 | 2 | EA | Unit | Inventory | Material | Purchased | True | 14 | 0 | B |  |  |  | 58
4 | 3800-0820-000 | SCREW M8X20 GR/12.9 SOCKET HD CAP | 6 | EA | Unit | Inventory | Material | Purchased | True | 15 | 0 |  |  |  |  | 59
4 | 3800-1030-000 | SCREW, SHCS M10X30 GR12.9 C/S | 8 | EA | Unit | Inventory | Material | Purchased | True | 16 | 0 |  |  |  |  | 60
4 | 3800-1665-000 | SCREW, HHCS M16X65 GR/8.8 C/S | 16 | EA | Unit | Inventory | Material | Purchased | True | 17 | 0 |  |  |  |  | 61
4 | 3809-0M12-000 | NUT HEX M12 PLAIN STEEL | 12 | EA | Unit | Inventory | Material | Purchased | True | 18 | 0 |  |  |  |  | 62
4 | 3809-0M16-000 | NUT, HEX M16 PLAIN STEEL | 16 | EA | Unit | Inventory | Material | Purchased | True | 19 | 0 |  |  |  |  | 63
4 | 3810-0010-004 | NUT, NYLOC M50 X 1.5 | 1 | EA | Unit | Inventory | Material | Purchased | True | 20 | 0 |  |  |  |  | 64
4 | 3821-0006-000 | SCREW, HHCS M6 X 10 GR8.8 316SS | 4 | EA | Unit | Inventory | Material | Purchased | True | 21 | 0 |  |  |  |  | 65
4 | 3830-0M10-001 | WASHER SPLIT LOCK M10 | 8 | EA | Unit | Inventory | Material | Purchased | True | 22 | 0 |  |  |  |  | 66
4 | 3830-0M12-002 | WASHER FLAT M12 GR8.8 PLAIN | 12 | EA | Unit | Inventory | Material | Purchased | True | 23 | 0 |  |  |  |  | 67
4 | 3830-0M16-000 | WASHER,FLAT M16 GR8.8 PLAIN | 16 | EA | Unit | Inventory | Material | Purchased | True | 24 | 0 |  |  |  |  | 68
4 | 3835-00M6-000 | WASHER M6 SPLIT LOCK 316SS | 4 | EA | Unit | Inventory | Material | Purchased | True | 25 | 0 |  |  |  |  | 69
4 | 3836-0471-000 | CIRCLIP, EXTRNL 47MM ID X 2.2MM WID | 1 | EA | Unit | Inventory | Material | Purchased | True | 26 | 0 |  |  |  |  | 70
4 | 3848-0510-000 | SPRING PIN 5MM DIA X 10MM LG | 2 | BOX | Unit | Inventory | Material | Purchased | True | 27 | 0 |  |  |  |  | 71
4 | 4610-2008-203 | KEY 12x8x70 | 1 | EA | Unit | Inventory | Material | Purchased | True | 28 | 0 |  |  |  |  | 72
4 | 4610-2011-001 | KEY IMPELLER 316SS 14X9X60 | 2 | EA | Unit | Inventory | Material | Purchased | True | 29 | 0 | A |  |  |  | 73
4 | 5320-5313-000 | O-RING VITON FOR DV0450/550B-KA2,3 | 2 | EA | Unit | Inventory | Material | Purchased | True | 30 | 0 |  |  |  |  | 74
4 | 6200-0055-000 | SEAL LIP SINGLE 55 MM BUNA SPRING | 2 | EA | Unit | Inventory | Material | Purchased | True | 31 | 0 |  |  |  |  | 75
4 | 6220-0055-003 | SEAL MECH LEFT 55 MM 316/TEF/CARB | 1 | EA | Unit | Inventory | Material | Purchased | True | 33 | 0 |  |  |  |  | 76
4 | 6565-6250-006 | SHIM 62MMX50MMX3MM | 2 | EA | Unit | Inventory | Material | Purchased | True | 34 | 0 |  |  |  |  | 77
4 | 6570-6250-002 | SHIM 62MM x 50MM x 0.2MM | 2 | EA | Unit | Inventory | Material | Purchased | True | 35 | 0 |  |  |  |  | 78
4 | 6570-6250-003 | SHIM 62MM X 50MM X 0.3MM | 2 | EA | Unit | Inventory | Material | Purchased | True | 36 | 0 |  |  |  |  | 79
4 | 6570-6250-005 | SHIM 62MM X 50MM X 0.5MM | 2 | EA | Unit | Inventory | Material | Purchased | True | 37 | 0 |  |  |  |  | 80
4 | 6570-6250-007 | SHIM 62MM X 50MM X 0.1MM | 3 | EA | Unit | Inventory | Material | Purchased | True | 38 | 0 |  |  |  |  | 81
4 | P7390-2007-364 | VALVE, PRT PLT FLPPR DV0300/200/150 | 2 | EA | Unit | Inventory | Material | Purchased | True | 39 | 0 | B |  |  |  | 82
4 | 6220-0055-024 | SEAL MECH RIGHT 55 MM 316/TEF/CARB | 1 | EA | Unit | Inventory | Material | Purchased | True | 40 | 0 |  |  |  |  | 83
4 | F-EN-TEST-002 | LRP CAPACITY TEST | 1 | EA | Unit | Job | Material | Manufactured | False | 1 | 0 |  |  |  |  | 84
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.25 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 | B |  |  |  | 85
3 | 1951098001 | NAMEPLATE, PUMP AC LOGO BLK-ALUM BRSHFT | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | B |  |  |  | 86
3 | 1951001065 | AC BLUE STRIPE 123.7mmX25mm AWS 750 A | 2 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 87
3 | 1951001075 | AC GREY LOGO 175mmX123.7mm | 2 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 88
3 | 9500-0005-001 | GROUP 2 PUMP PACKAGING | 1 | EA | Unit | Job | Material | Manufactured | False | 7 | 0 |  |  |  |  | 89
4 | 9500-0002-002 | WOODEN PALLET 35 X 21 | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 90
4 | 9500-0002-003 | TUBE FOR MEDIUM PUMPS | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 91
4 | 9500-0002-004 | LID FOR MEDIUM PUMPS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 92
2 | 2321-1000-000 | DRIVE CPLG ASSY 10S 42MM/2.13"CI/EP | 1 | EA | Unit | Job | Material | Manufactured | False | 3 | 0 |  |  |  |  | 93
3 | 2302-1000-001 | DRIVE CPLG ELMNT 10S EPDM SPLIT | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 | A |  |  |  | 94
3 | 2320-1000-212 | DRIVE CPLG 10S 2.125" CI STD BORE | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 | B |  |  |  | 95
3 | 2320-1001-042 | DRIVE CPLG 10S 42MM CI SPEC BORE | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 | B |  |  |  | 96
2 | 3012-0100-001 | ELBOW 1.0" SR 90° FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 97
2 | 3012-0400-004 | ELBOW 4.0" SR 90° FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 98
2 | 3085-0100-001 | HEX PLUG 1.00" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 99
2 | 3086-1020-001 | NIPPLE 1.0"MNPT X 2.0 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 100
2 | 3086-1030-001 | NIPPLE 1.0"MNPT X 3.0 LG. 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 101
2 | 3086-4045-001 | NIPPLE 4" MNPT X 4.5"L 316SS SCH40S | 1 | EA | Unit | Inventory | Material | Purchased | True | 9 | 0 |  |  |  |  | 102
2 | 3180-UNV2-001 | PIPING KIT #2 VACUUM GAUGE ADAPT SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 103
2 | 3216-0400-001 | FLANGE THD 4.0" 150# 316 SST W/RF | 2 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 104
2 | 3230-0400-009 | FLANGE ASY 4" 150# THD SS/TEF BOLT | 1 | EA | Unit | Job | Material | Manufactured | False | 12 | 0 |  |  |  |  | 105
3 | 3216-0400-001 | FLANGE THD 4.0" 150# 316 SST W/RF | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 106
3 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | 2 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 107
3 | 3775-0400-003 | BOLT SET FOR 4" 150# FLG ZINC PLTD | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 108
2 | 3300-0400-005 | FLEX CONN 4" FLG X 9"LG 304SS/316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 |  |  |  |  | 109
2 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | 1 | EA | Unit | Inventory | Material | Purchased | True | 14 | 0 |  |  |  |  | 110
2 | 3635-0025-001 | GAUGE VAC 0-30"HGV 2.5" FILL 316 SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 15 | 0 |  |  |  |  | 111
2 | 3700-1980-002 | GUARD CPLG FOR 25-50HP CS | 1 | EA | Unit | Inventory | Material | Purchased | True | 16 | 0 | B |  |  |  | 112
2 | 3775-0400-001 | BOLT SET FOR 4" 150# FLG ZINC PLTD | 2 | EA | Unit | Inventory | Material | Purchased | True | 17 | 0 | A |  |  |  | 113
2 | 3800-2507-000 | BOLT SERR HEX FLG 1/4-20X3/4 | 4 | EA | Unit | Inventory | Material | Purchased | True | 18 | 0 |  |  |  |  | 114
2 | 3800-3110-001 | BOLT HEX HEAD 5/16-18 X 1.0" GR5 WHIZ | 2 | PKG | Unit | Inventory | Material | Purchased | True | 19 | 0 |  |  |  |  | 115
2 | 3800-4315-001 | BOLT SERR HEX FLG 7/16-14 X 1.5 | 2 | EA | Unit | Inventory | Material | Purchased | True | 20 | 0 |  |  |  |  | 116
2 | 3800-5030-000 | BOLT SERR HEX FLG 1/2-13X3 | 4 | EA | Unit | Inventory | Material | Purchased | True | 21 | 0 |  |  |  |  | 117
2 | 3800-6220-001 | BOLT SERR HEX FLG 5/8-11X2 | 20 | EA | Unit | Inventory | Material | Purchased | True | 22 | 0 |  |  |  |  | 118
2 | 3810-0031-001 | NUT SERRATED HEX 5/16-18 | 2 | EA | Unit | Inventory | Material | Purchased | True | 23 | 0 |  |  |  |  | 119
2 | 3810-0043-001 | NUT LOCK SERR FLG 7/16-14 | 2 | EA | Unit | Inventory | Material | Purchased | True | 24 | 0 |  |  |  |  | 120
2 | 5013-0400-102 | MOTOR 40HP 4P 230/460V 324T PREM | 1 | EA | Unit | Inventory | Material | Purchased | True | 25 | 0 |  |  |  |  | 121
2 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | 0.83 | FT | Unit | Inventory | Material | Purchased | True | 26 | 0 |  |  |  |  | 122
2 | 6050-1980-252 | RISERBLOCK FOR 324/326T MOTOR CS. | 2 | EA | Unit | Inventory | Material | Purchased | True | 27 | 0 | B |  |  |  | 123
3 | 6615-0075-000 | FLAT CR 3/4" X 3" X 12FT 1018 CS | 1.33 | FT | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 124
2 | 6050-1980-304 | RISERBLK SHIM FOR 324/326T MOTOR CS | 4 | EA | Unit | Inventory | Material | Purchased | True | 28 | 0 | B |  |  |  | 125
2 | 6430-453-553-001 | SEPARATOR NR/PR SS DVW453/553 | 1 | EA | Unit | Job | Material | Manufactured | False | 29 | 0 |  |  |  |  | 126
3 | 2708-1555-251 | ENDPLATE 15.52" OD X .25" THK 316 SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 127
4 | 6622-0025-000 | PLATE HR 1/4",4FTX8FT 316SS | 1.5 | SQF | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 128
3 | 2728-2007-187 | BRACKET MOUNT SEPARATOR 6X2" SS | 1 | EA | Unit | Inventory | Material | Manufactured | False | 2 | 0 | B |  |  |  | 129
4 | 6653-0025-001 | STOCK FLAT 1/4"X2"X12FT 316 S/S | 1.23 | FT | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 130
3 | 3003-0150-001 | CPLG 1.50" FNPT FULL 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 131
3 | 3004-0100-001 | CPLG 1.00" FNPT HALF 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 132
3 | 3004-0400-001 | CPLG 4.00" FNPT HALF 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 133
3 | 5500-0150-001 | PIPE 1.5" NOM DIA X SCH40 316SS | 0.67 | FT | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 134
3 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | 2.25 | FT | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 135
3 | 5500-1600-001 | PIPE 16" NOM OD X SCH 10S 316SS | 3.5 | FT | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 136
2 | 6890-ACV0158450-1 | SEAL FLUID PIPING SS | 1 | EA | Unit | Job | Material | Manufactured | False | 30 | 0 |  |  |  |  | 137
3 | 3002-1075-001 | BUSHING 1.0"MNPT X .75"FNPT 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 138
3 | 3005-0100-001 | CROSS 1.0" FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 139
3 | 3012-0038-001 | ELBOW .38" SR 90° FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 140
3 | 3012-0050-001 | ELBOW .50" SR 90° FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 141
3 | 3012-0100-001 | ELBOW 1.0" SR 90° FNPT 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 142
3 | 3025-0100-001 | TEE 1.00" FNPT 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 143
3 | 3031-0100-001 | UNION 1.0" FNPT 150# 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 144
3 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 145
3 | 3085-0050-001 | SQ HD PLUG .50" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 9 | 0 |  |  |  |  | 146
3 | 3085-0100-001 | HEX PLUG 1.00" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 147
3 | 3086-1020-001 | NIPPLE 1.0"MNPT X 2.0 316SS | 4 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 148
3 | 3086-1025-001 | NIPPLE 1.0"MNPT X 2.5 LG. 316SS | 3 | EA | Unit | Inventory | Material | Purchased | True | 12 | 0 |  |  |  |  | 149
3 | 3086-1040-001 | NIPPLE 1.0"MNPT X 4.0 LG. 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 |  |  |  |  | 150
3 | 3086-1045-001 | NIPPLE 1.0"MNPT X 4.5 LG. 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 14 | 0 |  |  |  |  | 151
3 | 3086-1055-001 | NIPPLE 1.0"MNPT X 5.5 LG. 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 15 | 0 |  |  |  |  | 152
3 | 3086-3815-001 | NIPPLE .38"MNPT X 1.5"LG. 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 16 | 0 |  |  |  |  | 153
3 | 3086-5000-001 | NIPPLE .50"MNPT X CLOSE 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 17 | 0 |  |  |  |  | 154
3 | 3086-5015-001 | NIPPLE .50"MNPT X 1.5 LG. 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 18 | 0 |  |  |  |  | 155
3 | 3086-7525-001 | NIPPLE .75"MNPT X 2.5" LG. 316SS | 2 | EA | Unit | Inventory | Material | Purchased | True | 19 | 0 |  |  |  |  | 156
3 | 3216-0100-001 | FLANGE THD 1.0" 150# 316 W/RF | 2 | EA | Unit | Inventory | Material | Purchased | True | 20 | 0 |  |  |  |  | 157
3 | 3216-1075-001 | FLANGE 1.0" 150# X .75" THD SS W/RF | 2 | EA | Unit | Inventory | Material | Purchased | True | 21 | 0 |  |  |  |  | 158
3 | 3510-0100-001 | GASKET PTFE 2.63" ODX1.31" ID X.12" | 2 | EA | Unit | Inventory | Material | Purchased | True | 22 | 0 |  |  |  |  | 159
3 | 3630-0050-001 | GAUGE TMP .5" 20/240°F°C W/THERWELL | 1 | EA | Unit | Inventory | Material | Purchased | True | 23 | 0 |  |  |  |  | 160
3 | 3775-0100-001 | BOLT SET FOR 1" 150# FLG ZINC PLTD | 2 | EA | Unit | Inventory | Material | Purchased | True | 24 | 0 | A |  |  |  | 161
3 | 5500-0100-001 | PIPE 1" NOM DIA X SCH40 316SS | 1.54 | FT | Unit | Inventory | Material | Purchased | True | 25 | 0 |  |  |  |  | 162
3 | 6770-0100-001 | STRAINER Y 1.0" THD FNPT 316/316 | 1 | EA | Unit | Inventory | Material | Purchased | True | 26 | 0 |  |  |  |  | 163
3 | 7302-0038-001 | VLV BALL .38" FNPT FP 2-PC 316/TF | 1 | EA | Unit | Inventory | Material | Purchased | True | 27 | 0 |  |  |  |  | 164
3 | 7302-0100-001 | VLV BALL 1.0" FP 2-PC THD 316/TF | 1 | EA | Unit | Inventory | Material | Purchased | True | 28 | 0 |  |  |  |  | 165
3 | 7320-0050-001 | VLV SWING CHECK .5" THD FNPT 316/TF | 1 | EA | Unit | Inventory | Material | Purchased | True | 29 | 0 |  |  |  |  | 166
3 | 7334-0100-025 | VLV SOL 2WAY 1" N4 SS/BN 120V 5PSI | 1 | EA | Unit | Inventory | Material | Purchased | True | 30 | 0 |  |  |  |  | 167
3 | 7375-0050-002 | VLV FLOW CNTL 5.0 GPM 1"FNPT SS/BUN | 1 | EA | Unit | Inventory | Material | Purchased | True | 31 | 0 |  |  |  |  | 168
2 | 7302-0100-001 | VLV BALL 1.0" FP 2-PC THD 316/TF | 1 | EA | Unit | Inventory | Material | Purchased | True | 31 | 0 |  |  |  |  | 169
2 | 7308-0400-002 | VLV BUTTERFLY 4.0"LUG CI/SS/EPDM | 1 | EA | Unit | Inventory | Material | Purchased | True | 32 | 0 |  |  |  |  | 170
2 | 7321-0400-001 | VLV CK PAN 4" WAF SS/SS/T LT SPRING | 1 | EA | Unit | Inventory | Material | Purchased | True | 33 | 0 |  |  |  |  | 171
1 | ACV0158450-2 | CONTROL PANEL SUBASSEMBLY | 1 | EA | Unit | Job | Material | Manufactured | False | 3 | 0 |  |  |  |  | 172
2 | 2250-1179-340 | CTRL PNL 40HP 460V VMAX TRIPLEX VFD MED | 1 | EA | Unit | Job | Material | Manufactured | False | 1 | 0 |  |  |  |  | 173
3 | 2607-3636-080 | ENCLOSURE N4/12 36" X 36" X 8" | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 174
3 | 2607-3636-000 | ENCLOSURE BACK PANEL 36" X 36" | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 175
3 | 2609-0214-017 | POWER DISTRIBUTION BLOCK 3-POLE | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 176
3 | 2609-0214-110 | POWER DISTRIBUTION BLOCK COVERS | 3 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 177
3 | 2670-0020-021 | SWITCH DISCONNECT 2 POSITION 100AMP | 3 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 178
3 | 2670-0020-024 | SHAFT FOR DISCONNECT HANDLE 6MM | 3 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 179
3 | 2670-0020-018 | HANDLE FOR DISCONNECT SWITCH | 3 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 180
3 | 2608-0100-002 | FUSE BLOCK 3-POLE 100 AMP CLASS T | 3 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 181
3 | 2608-0100-002A | FINGER GUARD FOR 2608-0100-002 | 9 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 182
3 | 2610-0080-001 | FUSE 80 AMP FAST ACTING CLASS T | 9 | EA | Unit | Inventory | Material | Purchased | True | 12 | 0 |  |  |  |  | 183
3 | 2611-0002-002 | FUSE HLDR FINGSF CL. CC 2POLE IND | 2 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 |  |  |  |  | 184
3 | 2610-0004-001 | FUSE 4 AMP TIME DELAY CLASS CC | 4 | EA | Unit | Inventory | Material | Purchased | True | 14 | 0 |  |  |  |  | 185
3 | 2621-0024-010 | POWER SUPPLY 24VDC 5A 380-480VAC | 2 | EA | Unit | Inventory | Material | Purchased | True | 15 | 0 |  |  |  |  | 186
3 | 2611-0001-001 | FUSE HLDR FINGERSF CL.MIDGET 1POLE | 2 | EA | Unit | Inventory | Material | Purchased | True | 16 | 0 |  |  |  |  | 187
3 | 2621-0024-018 | REDUNDANCY MODULE, 24-48VDC, 20A | 1 | EA | Unit | Inventory | Material | Purchased | True | 17 | 0 |  |  |  |  | 188
3 | 2610-0004-002 | FUSE 4 AMP FAST-ACTING MIDGET | 1 | EA | Unit | Inventory | Material | Purchased | True | 18 | 0 |  |  |  |  | 189
3 | 2610-0005-003 | FUSE 5 AMP TIME DELAY MIDGET | 1 | EA | Unit | Inventory | Material | Purchased | True | 19 | 0 |  |  |  |  | 190
3 | 2540-2400-034 | UNBRANDED CUSTOM V430 12IN/10OUT CANBUS | 1 | EA | Unit | Inventory | Material | Manufactured | True | 21 | 0 |  |  |  |  | 191
4 | 2540-2400-047 | UNBRANDED V430 12IN/10OUT | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 192
4 | 2541-0024-038 | UNITRONICS CANBUS CARD FOR V430 | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 193
3 | 2541-0024-007 | UNITRONICS SERIAL CARD FOR V350/430 | 1 | EA | Unit | Inventory | Material | Purchased | True | 22 | 0 |  |  |  |  | 194
3 | 9700-0485-000 | RS485 CABLE RJ12/SHIELDED-TWISTED PAIR | 2 | EA | Unit | Inventory | Material | Purchased | True | 23 | 0 |  |  |  |  | 195
3 | 2555-BNIP-RTU | GATEWAY BACNET/IP TO MODBUS RTU | 1 | EA | Unit | Inventory | Material | Purchased | True | 24 | 0 |  |  |  |  | 196
3 | 2630-2245-003 | E-STOP 45MM TWIST-RELEASE OPERATOR | 1 | EA | Unit | Inventory | Material | Purchased | True | 27 | 0 |  |  |  |  | 197
3 | 2630-2240-002 | LEGEND PLATE E-STOP YELLOW | 1 | EA | Unit | Inventory | Material | Purchased | True | 29 | 0 |  |  |  |  | 198
3 | 2633-0020-007 | CONTACT BLOCK FOR SWITCH 2 N.C. SPRING | 2 | EA | Unit | Inventory | Material | Purchased | True | 30 | 0 |  |  |  |  | 199
3 | 2632-0030-006 | SWITCH SELECTOR 3-POSITION NON ILL | 3 | EA | Unit | Inventory | Material | Purchased | True | 32 | 0 |  |  |  |  | 200
3 | 2630-0050-004 | PUSH BUTTON BLACK | 1 | EA | Unit | Inventory | Material | Purchased | True | 33 | 0 |  |  |  |  | 201
3 | 2633-0020-002 | CONTACT BLOCK FOR SWITCH N.O. | 10 | EA | Unit | Inventory | Material | Purchased | True | 34 | 0 |  |  |  |  | 202
3 | 2555-0050-001 | HORN PIEZO BLACK 24VDC/AC | 1 | EA | Unit | Inventory | Material | Purchased | True | 35 | 0 |  |  |  |  | 203
3 | 2620-0022-010 | LIGHT YELLOW PILOT 22MM 24V | 1 | EA | Unit | Inventory | Material | Purchased | True | 36 | 0 |  |  |  |  | 204
3 | 2620-0022-018 | LIGHT RED PILOT 22MM 24V | 1 | EA | Unit | Inventory | Material | Purchased | True | 37 | 0 |  |  |  |  | 205
3 | 2635-0010-000 | RELAY 1 POLE 24V SPDT 6.2 mm 6A | 2 | EA | Unit | Inventory | Material | Purchased | True | 38 | 0 |  |  |  |  | 206
3 | 2555-0030-000 | TRANSIENT VOLTAGE SUPPRESSOR 30V | 3 | EA | Unit | Inventory | Material | Purchased | True | 40 | 0 |  |  |  |  | 207
3 | 7120-0025-007 | TRANS PRESS 0-15PSIA 0-10VDC | 1 | EA | Unit | Inventory | Material | Purchased | True | 42 | 0 |  |  |  |  | 208
3 | 3002-7525-004 | BUSHING BULK.75"UNC X .25"FNPT BRS | 1 | EA | Unit | Inventory | Material | Purchased | True | 43 | 0 |  |  |  |  | 209
3 | 2606-2412-002 | ELEC.TERMINAL BLOCK END SECTION DIN | 7 | EA | Unit | Inventory | Material | Purchased | True | 44 | 0 |  |  |  |  | 210
3 | 2606-2412-000 | ELEC.TERMINAL BLOCK END COVER | 2 | EA | Unit | Inventory | Material | Purchased | True | 45 | 0 |  |  |  |  | 211
3 | 2604-2412-004 | ELEC.TERM BLOCK DOUBLE LEVEL 6.2MM | 28 | EA | Unit | Inventory | Material | Purchased | True | 46 | 0 |  |  |  |  | 212
3 | 2604-2412-005 | ELEC.TERMINAL BLOCK GND 6.2 2-TIER | 4 | EA | Unit | Inventory | Material | Purchased | True | 47 | 0 |  |  |  |  | 213
3 | 2602-2410-000 | ELEC.TERM. BLK. DIN RAIL 7.5 X 35MM | 2.75 | FT | Unit | Inventory | Material | Purchased | True | 48 | 0 |  |  |  |  | 214
3 | 9702-0100-225 | WIRING DUCT W/ COVER 1.00"X2.25" WH | 1.84 | FT | Unit | Inventory | Material | Purchased | True | 49 | 0 |  |  |  |  | 215
3 | 9702-0150-225 | WIRING DUCT W/ COVER 1.50"X2.25" WH | 6.84 | FT | Unit | Inventory | Material | Purchased | True | 50 | 0 |  |  |  |  | 216
3 | 2552-1402-000 | LUG, GROUNDING, 14-2 AWG | 4 | EA | Unit | Inventory | Material | Purchased | True | 51 | 0 |  |  |  |  | 217
2 | 2730-2025-148 | BRACKET CNTL PNL 36X36X8 CS | 1 | EA | Unit | Job | Material | Manufactured | False | 2 | 0 |  |  |  |  | 218
3 | 7215-0200-001 | TUBING SQ. 2"X2"X1/4"X24FT HR CS | 18.39 | FT | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 219
3 | 6600-0025-001 | ANGLE 1/4"X2"X2"X20FT A-36 CS | 6 | FT | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 220
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | 0.02 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 221
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.25 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | B |  |  |  | 222
3 | 6652-0025-002 | STOCK FLAT 1/4"X2"X20FT CS A36 | 2.75 | FT | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 223
2 | 3039-0025-003 | FTING .25"MNPTX.25"TUBE 90° COMP CS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 224
2 | 3800-4310-001 | BOLT SERR HEX FLG 7/16-14 X 1 | 4 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 225
2 | 3810-0043-001 | NUT LOCK SERR FLG 7/16-14 | 4 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 226
2 | 3842-0200-002 | PLUGS PROTECTIVE 2" SQR POLY | 2 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 227
2 | 7200-0025-001 | TUBING .25"OD FEP/TEFLN TRANSLUCENT | 5.58 | FT | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 228
1 | ACV0158450-3 | VFD SUBASSEMBLY | 1 | EA | Unit | Job | Material | Manufactured | False | 5 | 0 |  |  |  |  | 229
2 | 2672-0400-016 | DRIVE VARIABLE FREQ 40HP 480V | 2 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 230
2 | 2728-2025-413 | BRACKET VFC MOUNTING | 1 | EA | Unit | Job | Material | Manufactured | False | 2 | 0 |  |  |  |  | 231
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | 0.02 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 232
3 | 6652-0025-002 | STOCK FLAT 1/4"X2"X20FT CS A36 | 7.67 | FT | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 233
3 | 7215-0200-001 | TUBING SQ. 2"X2"X1/4"X24FT HR CS | 12.42 | FT | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 234
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.25 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | B |  |  |  | 235
2 | 3800-2515-004 | BOLT SERR HEX FLG 1/4"-20 X 1-1/2" | 8 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 236
2 | 3810-0025-001 | NUT LOCK SERR FLG 1/4-20 | 8 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 237
2 | 3842-0200-002 | PLUGS PROTECTIVE 2" SQR POLY | 2 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 238
1 | ACV0158450-4 | DISCHARGE MANIFOLD SUBASSEMBLY | 1 | EA | Unit | Job | Material | Manufactured | False | 6 | 0 |  |  |  |  | 239
2 | 3038-0025-003 | FTING .25"MNPTX.25"TUBE STR COMP CS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 240
2 | 3210-0400-001 | FLANGE BLIND 4" 150# 316SS W/RF | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 241
2 | 3510-0400-001 | GASKET PTFE 6.88" ODX4.50" ID X.12" | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 242
2 | 3775-0400-001 | BOLT SET FOR 4" 150# FLG ZINC PLTD | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | A |  |  |  | 243
2 | 6875-2025-412 | INTAKE MANIFOLD SS | 1 | EA | Unit | Job | Material | Manufactured | False | 5 | 0 |  |  |  |  | 244
3 | 3012-0400-001 | ELBOW 4" SR 90° BUTT WELD SCH40 316 | 2 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 245
3 | 3020-6040-001 | REDUCER CONC 6" X 4" BUTWD S40 316 | 2 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 246
3 | 3025-0600-001 | TEE 6.00" BUTTWLD SCH40 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 247
3 | 3214-0400-001 | FLANGE SLIP-ON 4.0" 150# 316 W/RF | 3 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 248
3 | 3214-0600-001 | FLANGE SLIP-ON 6.0" 150# 316 W/RF | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 249
3 | 5500-0400-002 | PIPE 4" NOM DIA X SCH40 316SS | 4.32 | FT | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 250
3 | 5500-0600-004 | PIPE 6" NOM DIA X SCH 40 316SS | 0.229 | FT | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 251
3 | 3004-0025-001 | CPLG .25" FNPT HALF 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 252
1 | ACV0158450-5 | TANK SUBASSEMBLY | 1 | EA | Unit | Job | Material | Manufactured | False | 7 | 0 |  |  |  |  | 253
2 | 3002-5025-001 | BUSHING .50"MNPT X .25"FNPT 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 254
2 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 255
2 | 3085-0075-001 | SQ HD PLUG .75" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 256
2 | 3605-0025-011 | GAUGE COMP 15/0/30"PSI/HGV FILLED SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 257
2 | 6004-0060-009 | RECEIVER TANK VERT 60 GAL CS ASME | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 258
2 | 6890-ACV0158450-2 | DRAIN PIPING SS | 1 | EA | Unit | Job | Material | Manufactured | False | 6 | 0 |  |  |  |  | 259
3 | 3002-3825-001 | BUSHING .38"MNPT X .25"FNPT 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 260
3 | 3002-5038-001 | BUSHING .50"MNPT X .38"FNPT 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 261
3 | 3012-0038-001 | ELBOW .38" SR 90° FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 262
3 | 3025-0025-001 | TEE .25" FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 |  |  |  |  | 263
3 | 3025-0038-001 | TEE .38" FNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 264
3 | 3038-0038-001 | FTNG STR .38"MNPTX.38"TUBE BRS PUSH | 2 | EA | Unit | Inventory | Material | Purchased | True | 6 | 0 |  |  |  |  | 265
3 | 3085-0025-001 | SQ HD PLUG .25" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 266
3 | 3085-0038-001 | SQ PLUG .38" MNPT 150# 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 8 | 0 |  |  |  |  | 267
3 | 3086-2500-002 | NIPPLE .25"MNPT X CLOSE 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 9 | 0 |  |  |  |  | 268
3 | 3086-3800-001 | NIPPLE .38"MNPT X CLOSE 316SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 |  |  |  |  | 269
3 | 5500-0025-001 | PIPE .25" NOM DIA XSCH40 316SS | 1.65 | FT | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 270
3 | 7200-0038-001 | TUBING .38" OD FEP/TEFLN TRANSLUCNT | 1.34 | FT | Unit | Inventory | Material | Purchased | True | 12 | 0 |  |  |  |  | 271
3 | 7302-0025-001 | VLV BALL .25" FP 2-PC THD 316/TF | 1 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 |  |  |  |  | 272
2 | 7342-0125-007 | VALVE VAC RELIEF 1.25" ADJ 100SCFM SS | 1 | EA | Unit | Inventory | Material | Purchased | True | 7 | 0 |  |  |  |  | 273
1 | ACV0158450-6 | PIPE SUPPORT BRACKET SUBASSEMBLY | 1 | EA | Unit | Job | Material | Manufactured | False | 8 | 0 |  |  |  |  | 274
2 | 2728-2025-575 | BRACKET - PIPE SUPPORT | 2 | EA | Unit | Job | Material | Manufactured | False | 1 | 0 |  |  |  |  | 275
3 | 6600-0025-004 | ANGLE 1/4"X3"X3"X20FT A-36 CS | 2.1667 | FT | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 276
3 | 6600-0025-008 | ANGLE 1/4"X3"X2"X20FT A-36 CS | 9.2 | FT | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 277
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | 0.01 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 278
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.2 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | B |  |  |  | 279
2 | 2728-2025-576 | BRACKET - PIPE SUPPORT | 1 | EA | Unit | Job | Material | Manufactured | False | 2 | 0 |  |  |  |  | 280
3 | 6600-0025-008 | ANGLE 1/4"X3"X2"X20FT A-36 CS | 3.896 | FT | Unit | Inventory | Material | Purchased | True | 1 | 0 |  |  |  |  | 281
3 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | 0.002 | EA | Unit | Inventory | Material | Purchased | True | 2 | 0 |  |  |  |  | 282
3 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.03 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 | B |  |  |  | 283
2 | 3800-5015-001 | BOLT SERR HEX FLG 1/2-13 X 1.5 | 2 | EA | Unit | Inventory | Material | Purchased | True | 3 | 0 |  |  |  |  | 284
2 | 3810-0050-001 | NUT LOCK SERR FLG 1/2-13 | 2 | EA | Unit | Inventory | Material | Purchased | True | 4 | 0 | A |  |  |  | 285
2 | 3825-0400-000 | U-BOLT 4.5"ID 1/2-13 UNC 4" PIPE ZN | 2 | EA | Unit | Inventory | Material | Purchased | True | 5 | 0 |  |  |  |  | 286
1 | 1951098000 | NAMEPLATE, SYSTEM AC LOGO BLK-ALUM | 1 | EA | Unit | Inventory | Material | Purchased | True | 9 | 0 | A |  |  |  | 287
1 | 1951098001 | NAMEPLATE, PUMP AC LOGO BLK-ALUM BRSHFT | 2 | EA | Unit | Inventory | Material | Purchased | True | 10 | 0 | B |  |  |  | 288
1 | 5472-0005-004 | PAINT 5GAL WB ALKYD PRIMER GREY | 0.03 | EA | Unit | Inventory | Material | Purchased | True | 11 | 0 |  |  |  |  | 289
1 | 5474-0001-081 | PAINT 1 GAL MSA ACRY RAL7011 IRON GREY | 0.5 | EA | Unit | Inventory | Material | Purchased | True | 12 | 0 | B |  |  |  | 290
1 | 5475-0012-003 | PAINT SPRAY CAN 12 OZ RAL 7011 IRON GRAY | 1 | EA | Unit | Inventory | Material | Purchased | True | 13 | 0 | A |  |  |  | 291
1 | 3810-0050-001 | NUT LOCK SERR FLG 1/2-13 | 20 | EA | Unit | Inventory | Material | Purchased | True | 14 | 0 | A |  |  |  | 292